## Slide 1: Fast-Batched Optimal Solution for RTOPF
James, Mert, Vishal

## Slide 2: Introduction

## Slide 3: Introduction
Optimal Power Flow problem (OPF): Deciding the optimal operating conditions (minimizing power generation cost) for a power-plant based on (predicted) demand.
Real-Time OPF (RT-OPF): Solving the problem in real time – matter of minutes/seconds! - Traditional OPF solvers can't handle it
  Renewable energy generators – introduce uncertainty
Two-fold problem:
  Handle uncertainty (run more scenarios!)
  Accelerate solution process
Solution given by the paper:
  Multiple plausible scenarios – 1024 optimization problems instead of 1!
  A distributed implementation of PDIPM – 3 kernels

## Slide 4: Methods

## Slide 5: Methods

## Slide 6: Methods
Kernal 1 Setup
  Calculation of partial derivatives of the objective and constraints.
  Lagrangians are computed and the matrix is generated
    Additionally, as our matrices are stored in CSR format, matrix concatenation is a more complicated business

## Slide 7: Methods
Kernal 2 Setup
  This is the most compute intensive set as it involves matrix inversion (solving of a linear system of equations). This is accomplished using CuSolver
    Solves for ΔX and Δλ

## Slide 8: Methods
Kernal 3 Setup
  The solved linear equation is used to compute and evaluate the update steps for the decision variables for the next iteration

## Slide 9: Illustrative Example

## Slide 10: Illustrative Example

## Slide 11: Progress and Current Results

## Slide 12: Progress and Current results
Solving for Cases 14, 57, 118, and 300
Utilized CVXPY, a Python-embedded modeling language for convex optimization problems
Compared performance using SCS and OSQP solvers
Compared Compile Time and Solver Time
Some constraints not implemented
Notes: Mention

## Slide 13: Way ahead

## Slide 14: Way Ahead
Create C Kernels
  Outlined in our Methods section
    Must perform many matrix operations in parallel
Implement REG data and Create Scenarios
  Scenario creation based on linear predictions of Solar or Wind input data
    Solar radiation or wind speed
  Translation of these predictions into power generation
    Use prediction intervals to determine best scenarios to test
    Note that the problem grows exponentially
      N sub s is the number of scenarios per REG
      N sub r is the number of REGs